Quality Improvement checklist for the use of Ionising Radiation in Primary Dental Care Practice Assessment Proforma 2024

| Practice Information |  |
| --- | --- |
| Practice Name: |  |
| Practice address: |  |
| Radiation protection Supervisor (RPS) Full Name: |  |
| Checklist completed by: |  |
| Date: |  |
| Number of questions that need actions (list all numbers): |  |
| Date when the practice expects to be fully compliant: |  |
| Completion date: |  |
| Annual Review Date: |  |

| Assessment |  | Outcome |  |  |
| --- | --- | --- | --- | --- |
| Number | Statement/ question | Fully Compliant | Not Fully Compliant | Actions Required and Person Responsible |
|  | Health and Safety Executive (HSE) |  |  |  |
| 1 | The practice has registered with the HSE that radiographic equipment is being used on the premise and confirmed compliance with IRR17 by 6/2/2018. |  |  |  |
| 2 | HSE have confirmed receipt of notification and this available in the practice. |  |  |  |
| 2 (a) | Appropriate HSE Notification of Radon. |  |  |  |
|  | Radiation Protection File includes the name and contact details of: |  |  |  |
| 3 | Radiation Protection Supervisor (RPS) |  |  |  |
| 4 | Radiation Protection Adviser (RPA) |  |  |  |
| 5 | Medical Physics Expert (MPE) or RPA to act as MPE |  |  |  |
| 6 | The ‘Legal person’ – the ‘employer’ |  |  |  |
| Assessment |  | Outcome |  |  |
| Number | Statement/ question | Fully Compliant | Not Fully Compliant | Actions Required and Person Responsible |
|  | Radiation Protection File includes the Local Rules and IR(ME)R written procedures |  |  |  |
| 7 | There is a written risk assessment of the use of Ionising radiation within the practice |  |  |  |
| 8 | The staff have been informed and trained following the risk assessment of the use of Ionising Radiation |  |  |  |
| 9 | The ‘controlled area’ within each surgery has been identified and there is a written description of the ‘controlled area’ |  |  |  |
| 10 | There are arrangements for restricting access to each ‘controlled area’. |  |  |  |
| 11 | There are working instructions intended to reduce exposure to ionising radiation to employees and members of the public |  |  |  |
| 12 | There are contingency plans to address reasonably foreseeable accidents whilst using ionising radiation in dental practice |  |  |  |
| 13 | There is a written annual review of the need to designate any staff as ‘classified persons’ |  |  |  |
| 14 | There are written arrangements for use of dosemeter films/ badges within the practice |  |  |  |
| 15 | The written results of dosemeter films/ badges are saved and discussed annually with the RPA |  |  |  |
| Assessment |  | Outcome |  |  |
| Number | Statement/ question | Fully Compliant | Not Fully Compliant | Actions Required and Person Responsible |
| 16 | There are written arrangements for pregnant staff in respect of ionising radiation |  |  |  |
| 17 | There is a written procedure for identification of the individuals entitled to act as referrer, IRMER practitioner or operator |  |  |  |
| 18 | There is a written procedure for the correct identification prior to a radiographic (x-ray) exposure |  |  |  |
| 19 | There is a written procedure for making enquiries of female patients of child-bearing age to establish if the individual is or may be pregnant |  |  |  |
| 20 | There is a written procedure for information on benefits and risks of exposure |  |  |  |
| 21 | There is written guidance for carers and comforters exposed to a radiographic (x-ray) exposure that must include established dose constraints |  |  |  |
| 22 | There is written information for individuals with parental responsibility, or appropriate persons in the case where patients are under 16, or where patients lack capacity to consent to their own medical exposures. |  |  |  |
| 23 | There is a written guidance for the clinical evaluation of every radiograph. |  |  |  |
| 24 | There is a written procedure for the assessment of patient dose |  |  |  |
| 25 | There is a written procedure for the setting, use and review of diagnostic reference levels |  |  |  |
| Assessment |  | Outcome |  |  |
| Number | Statement/ question | Fully Compliant | Not Fully Compliant | Actions Required and Person Responsible |
| 26 | There is a written procedure for reducing the probability and magnitude of accidental or unintended exposures |  |  |  |
| 27 | There are written arrangements for investigating and reporting significant, and clinically significant, accidental or unintended exposures and/or near misses, including a procedure for actions to be taken because of the findings and the documentation process. |  |  |  |
| 28 | There is a written procedure for the Quality Assurance of the employer’s procedures |  |  |  |
| 29 | There are referral guidelines for all dental radiographs, including a procedure “for making, amending and cancelling any referrals for exposure”. |  |  |  |
| 30 | There are written guidelines to ensure that all dental radiographs are justified and authorised. |  |  |  |
| 31 | There are written protocols for all standard radiographic procedures. |  |  |  |
| 32 | Records to be kept for each dental x-ray examination. |  |  |  |
| 33 | There is evidence of annual review of the Local Rules to ensure the document remains up to date and effective. |  |  |  |
| 34 | There is a policy to ensure cooperation between employers to share relevant patient information including the justification for the exposure. |  |  |  |
| Number | Statement/ question | Fully Compliant | Not Fully Compliant | Actions Required and Person Responsible |
|  | X-ray Equipment |  |  |  |
| 35 | There is a written record of the ‘critical examination’ undertaken by the installer of the x-ray equipment. |  |  |  |
| 36 | There is a written record of the ‘acceptance test’ before the x-ray equipment is put into clinical use. |  |  |  |
| 37 | There are written arrangements and evidence of the maintenance and servicing of all the x-ray equipment. |  |  |  |
| 38 | There is a written record of the safety testing of all the x-ray equipment as recommended by MPE (a minimum of every 3 years). In-house QA checks on X-ray equipment should be documented 6 monthly. |  |  |  |
| 39 | There is a written inventory of all the x-ray equipment within the practice. |  |  |  |
| 40 | There is a written inventory of all the software within the practice utilised to assist operators in clinical evaluation of radiographs. |  |  |  |
|  | Quality Assurance (QA) in Dental Radiography |  |  |  |
| 41 | The Practice has a QA programme of employer’s procedures in the Radiation Protection file. |  |  |  |
| 42 | There are QA procedures for training. |  |  |  |
| 43 | There is a QA programme for image processing and viewing facilities. |  |  |  |
| 44 | There is QA of clinical image quality. |  |  |  |
| 45 | QA audits are undertaken on a regular basis and guidance to ensure that appropriate actions are undertake following the audit. |  |  |  |
| Assessment |  | Outcome |  |  |
| Number | Statement/ question | Fully Compliant | Not Fully Compliant | Actions Required and Person Responsible |
|  | IR(ME)R staff roles and training |  |  |  |
| 46 | Every staff member understands the roles and functions of the IR(ME)R Referrer, Practitioner and Operator. |  |  |  |
| 47 | All staff understand the GDC scope of practice for dentists and dental care professionals. |  |  |  |
| 48 | A written record of all radiation safety training by employees, reflecting the minimum training standards in Schedule 3 of IRMER to reflect the developments in techniques and practices. |  |  |  |

Thank you for completing the checklist for the use of Ionising Radiation in Primary Dental Care Practice. If you have any questions regarding this document, please contact sue.stokes2@wales.nhs.uk

Please ensure this document is kept safely with the Local Rules.